## Calculator
MyEngineeringTools.com
Coefficient of Performance (COP) Optimization
1. INPUT PARAMETERS
Cooling Load (Q_evap) | 400 | kW
Annual Operating Hours (H) | 8000 | h/yr
Enthalpy at Evaporator Exit (h1) | 253.4 | kJ/kg
Enthalpy at Condenser Exit (Scenario A) (h3A) | 115.3 | kJ/kg
Enthalpy after Compression (Scenario A) (h2sA) | 278.5 | kJ/kg
Enthalpy at Condenser Exit (Scenario B) (h3B) | 99.5 | kJ/kg
Enthalpy after Compression (Scenario B) (h2sB) | 271.1 | kJ/kg
2. ENGINEERING OUTPUT
Evaporator Duty per Unit Mass (Scenario A) (qeA) |  | kJ/kg
Compressor Work per Unit Mass (Scenario A) (wcA) |  | kJ/kg
Coefficient of Performance (Scenario A) (COPA) |  | ratio
Power Input (Scenario A) (WA) |  | kW
Evaporator Duty per Unit Mass (Scenario B) (qeB) |  | kJ/kg
Compressor Work per Unit Mass (Scenario B) (wcB) |  | kJ/kg
Coefficient of Performance (Scenario B) (COPB) |  | ratio
Power Input (Scenario B) (WB) |  | kW
Power Reduction (deltaW) |  | kW
Annual Energy Savings (Esav) |  | MWh/yr
LEGAL DISCLAIMER & LIMITATION OF LIABILITY: This offline tool is provided for educational and preliminary estimation purposes only. MyEngineeringTools.com makes no warranties, express or implied, regarding the accuracy or applicability of these results. MyEngineeringTools.com SHALL NOT BE LIABLE for any damages arising from the use of this data. All results MUST be independently verified by a qualified professional engineer before implementation.