## Calculator
MyEngineeringTools.com
Condenser Heat Rejection Calculation
1. INPUT PARAMETERS
Evaporator Load (Q_evap) | 100 | kW
Compressor Power (W_comp) | 30 | kW
Cooling Water Inlet Temperature (T_in) | 30 | °C
Cooling Water Outlet Temperature (T_out) | 35 | °C
Specific Heat of Water (cp) | 4.18 | kJ/(kg·°C)
Safety Factor (SF) | 1.15 | dimensionless
2. ENGINEERING OUTPUT
Base Condenser Duty (Q_cond_base) |  | kW
Design Condenser Duty (Q_cond_design) |  | kW
Temperature Rise (dT) |  | °C
Duty Ratio (R_duty) |  | dimensionless
Cooling Water Mass Flow Rate (m_dot) |  | kg/s
LEGAL DISCLAIMER & LIMITATION OF LIABILITY: This offline tool is provided for educational purposes only. MyEngineeringTools.com makes no warranties, express or implied, regarding the accuracy or applicability of these results. MyEngineeringTools.com SHALL NOT BE LIABLE for any damages arising from the use of this data. All results MUST be independently verified by a qualified professional engineer before implementation.