## Calculator
MyEngineeringTools.com
Control Valve Flow Characteristic Selection
1. INPUT PARAMETERS
Inlet Pressure (Gauge) (P1) | 5 | bar
Atmospheric Pressure (Patm) | 1.0132 | bar
Fluid Vapor Pressure (Pv) | 0.03 | bar
Liquid Pressure Recovery Factor (FL) | 0.9 | dimensionless
Required Flow Rate (q_req) | 100 | m3/h
Pressure Drop Across Valve (dP) | 1.5 | bar
Specific Gravity (SG) | 1 | dimensionless
Flow Coefficient Constant (N1) | 0.865 | dimensionless
Valve Travel (x) | 0.75 | dimensionless
Rangeability Constant (alpha) | 50 | dimensionless
2. ENGINEERING OUTPUT
Absolute Inlet Pressure (P1_abs) |  | bar
Choked Pressure Drop (dP_choked) |  | bar
Required Flow Coefficient (Cv) |  | dimensionless
Normalized Flow (q_norm) |  | dimensionless
Valve Gain (Gv) |  | dimensionless
LEGAL DISCLAIMER & LIMITATION OF LIABILITY: This offline tool is provided for educational purposes only. MyEngineeringTools.com makes no warranties, express or implied, regarding the accuracy or applicability of these results. MyEngineeringTools.com SHALL NOT BE LIABLE for any damages arising from the use of this data. All results MUST be independently verified by a qualified professional engineer before implementation.