## Calculator
MyEngineeringTools.com
Controlled Atmosphere Storage Design
1. INPUT PARAMETERS
Room Volume (V) | 100 | m^3
Commodity Mass (m_prod) | 50000 | kg
Target O2 Concentration (x_O2) | 2 | %
Target CO2 Concentration (x_CO2) | 5 | %
Specific Respiration Rate (R_resp) | 3 | mg CO2/(kg*h)
Leakage Rate (ACH) | 0.01 | 1/h
Purge Time (t_purge) | 24 | h
Initial O2 Concentration (C_O2_init) | 21 | %
Molar Mass CO2 (M_CO2) | 44.01 | g/mol
Molar Mass O2 (M_O2) | 32 | g/mol
Molar Mass N2 (M_N2) | 28 | g/mol
Air Density (rho_air) | 1.29 | kg/m^3
O2 Mass Fraction in Air (y_O2_air) | 0.233 | fraction
Respiratory Quotient (RQ) | 1 | dimensionless
2. ENGINEERING OUTPUT
Total CO2 Production Rate (m_dot_CO2_resp) |  | kg/h
O2 Consumption Rate (m_dot_O2_cons) |  | kg/h
Volumetric Leakage Flow (Q_leak) |  | m^3/h
Target N2 Concentration (x_N2) |  | fraction
Average Molar Mass of Room Atmosphere (M_avg_room) |  | g/mol
Mass Fraction of O2 in Room (y_O2_room) |  | fraction
O2 Loss Due to Leakage (m_dot_O2_leak) |  | kg/h
Required Air Bleed Flow (m_dot_air_bleed) |  | kg/h
Required Scrubber Capacity (m_dot_scrubber) |  | kg/h
Initial N2 Purge Flow (Q_N2_purge) |  | m^3/h
LEGAL DISCLAIMER & LIMITATION OF LIABILITY: This offline tool is provided for educational purposes only. MyEngineeringTools.com makes no warranties, express or implied, regarding the accuracy or applicability of these results. MyEngineeringTools.com SHALL NOT BE LIABLE for any damages arising from the use of this data. All results MUST be independently verified by a qualified professional engineer before implementation.