## Calculator
MyEngineeringTools.com
Direct vs Indirect Refrigeration System Design
1. INPUT PARAMETERS
Cooling Load Station A (QA) | 200 | kW
Cooling Load Station B (QB) | 80 | kW
Milk Outlet Temperature (T_milk_out) | 4 | °C
Glycol Specific Heat Capacity (cp_glycol) | 3.6 | kJ/kg·K
Process Cooler Temperature Approach (dT_process) | 4 | °C
Chiller Evaporator Temperature Approach (dT_chiller) | 4 | °C
Glycol Temperature Rise (dT_glycol_rise) | 5 | °C
Fouling Resistance (R_fouling) | 0.0001 | m²K/W
Glycol Heat Transfer Coefficient (Process) (h_glycol_process) | 3000 | W/m²K
Milk Heat Transfer Coefficient (h_milk) | 4000 | W/m²K
2. ENGINEERING OUTPUT
Total Cooling Load (Q_total) |  | kW
Glycol Supply Temperature (T_glycol_in) |  | °C
Glycol Return Temperature (T_glycol_out) |  | °C
Glycol Mass Flow Rate (m_dot_glycol) |  | kg/s
Refrigerant Saturation Temperature (T_sat) |  | °C
Process Cooler Overall Heat Transfer Coefficient (U_process) |  | W/m²K
LEGAL DISCLAIMER & LIMITATION OF LIABILITY: This offline tool is provided for educational purposes only. MyEngineeringTools.com makes no warranties, express or implied, regarding the accuracy or applicability of these results. MyEngineeringTools.com SHALL NOT BE LIABLE for any damages arising from the use of this data. All results MUST be independently verified by a qualified professional engineer before implementation.