## Calculator
MyEngineeringTools.com
Equivalent Length Calculation for Pipe Fittings
1. INPUT PARAMETERS
Volumetric flow rate (Q) | 0.0025 | m³·s⁻¹
Fluid density (rho) | 998 | kg·m⁻³
Dynamic viscosity (mu) | 0.001 | Pa·s
Pipe inner diameter (D) | 0.05 | m
Absolute roughness (epsilon) | 4.5e-05 | m
Length of straight pipe (L_straight) | 120 | m
Loss coefficient for elbow (K) | 0.9 | -
Quantity of elbows (n) | 1 | -
2. ENGINEERING OUTPUT
Cross‑sectional area (A) |  | m²
Average fluid velocity (V) |  | m·s⁻¹
Reynolds number (Re) |  | -
Darcy friction factor (f) |  | -
Equivalent length of a single fitting (L_eq) |  | m
Total equivalent pipe length (L_eq_total) |  | m
Darcy‑Weisbach pressure drop (DeltaP) |  | Pa
LEGAL DISCLAIMER & LIMITATION OF LIABILITY: This offline tool is provided for educational purposes only. MyEngineeringTools.com makes no warranties, express or implied, regarding the accuracy or applicability of these results. MyEngineeringTools.com SHALL NOT BE LIABLE for any damages arising from the use of this data. All results MUST be independently verified by a qualified professional engineer before implementation.