## Calculator
MyEngineeringTools.com
Equivalent Sterilization Time at Different Temperatures
1. INPUT PARAMETERS
Original Holding Temperature (T1) | 121.1 | °C
Deviation Holding Temperature (T2) | 118 | °C
Original Holding Time (t1) | 15 | min
z-value (z) | 10 | °C
2. ENGINEERING OUTPUT
Temperature Difference Exponent (Exponent) |  | -
Lethality Ratio (LethalityRatio) |  | -
Equivalent Holding Time (t2) |  | min
LEGAL DISCLAIMER & LIMITATION OF LIABILITY: This offline tool is provided for educational purposes only. MyEngineeringTools.com makes no warranties, express or implied, regarding the accuracy or applicability of these results. MyEngineeringTools.com SHALL NOT BE LIABLE for any damages arising from the use of this data. All results MUST be independently verified by a qualified professional engineer before implementation.