## Calculator
MyEngineeringTools.com
Ethylene Management in Cold Storage
1. INPUT PARAMETERS
Fruit Mass (M_fruit) | 10000 | kg
Specific Ethylene Emission Rate (E_dot) | 0.5 | μL/(kg·h)
Room Volume (V) | 100 | m³
Ventilation Flow Rate (Q) | 10 | m³/h
Target Ethylene Concentration (C_target_ppm) | 0.1 | ppm
2. ENGINEERING OUTPUT
Ethylene Generation Mass Rate (m_dot_gen) |  | μg/h
Target Concentration (Mass/Volume) (C_target) |  | μg/m³
Steady-State Concentration Without Scrubber (C_s0) |  | μg/m³
Required Scrubber Removal Constant (k) |  | h⁻¹
LEGAL DISCLAIMER & LIMITATION OF LIABILITY: This offline tool is provided for educational purposes only. MyEngineeringTools.com makes no warranties, express or implied, regarding the accuracy or applicability of these results. MyEngineeringTools.com SHALL NOT BE LIABLE for any damages arising from the use of this data. All results MUST be independently verified by a qualified professional engineer before implementation.